## Sheet1
problem 1
1000 |  | 1.14 | 1140 |  | 75 | 55 |  | 24624
sf |  | cfm/sf | cfm sa |  |  |  |  | sensible load
for load
1
1140 cfm required to meet load
problem 2
0.12 |  | 1000 | 120
10 |  | 30 | 300
|  |  | 420 | cfm to meet ashrae
problem 3
1000 |  | 10 | 0.2 |  | 60 |  | 33.3333
sf |  | ft | acph |  |  |  | cfm
for,pressurization
problem 4
1140
cfm supply air cfm
problem 5
1106.6667
Return turn CFM
problem 6
4.5 | tons
54198 | btuh
problem 7
1140 |  | 1.08 | 100 |  | 55 |  | 55404
problem 8
55404 |  | 500 | 20 |  | 5.5404 | gpm hhw
btuh | [5 empty] | reheat coil
1.0 inch pipe
btuh reheat coil
problem 9
14x14
16x16 |  | both acceptable answers
problem 10
a. | 4
b. | 1
c. | near the wall the main duct is or anything that makes sense
d. | near the return duct or near the door or on the wall adjacent to the main duct
e. | first section could be 16x16 or 14x14 and second section could be 14x14 or 12x12